Method:

Viability and Optimization of FITC Poloboxtide Solution

In our study, we first aimed to assess the viability of FITC Poloboxtide as a fluorescence peptide tracer and, if viable, to determine the optimum concentration for an ideal signal-to-noise ratio without detection of signal saturation. To accomplish this, we prepared a 30 μM solution of the tracer in a BSA buffer (10 mM Tris HCl pH 8, 1.0 mg/mL BSA) and performed a serial dilution, of which 5 μL was added to a dark opaque 384-well plate in triplicate. To account for dilution effects protein and drug during the actual experimental assays, 10 μL of a 1X buffer was added to each well because 1X buffer will be used for dilution of protein and ligands. The plates were then centrifuged at 500 RPM for 1 minute (Sorvall Legend XTR centrifuge) to ensure uniform mixing. Fluorescence readings were taken using a SpectraMax i3 Multimode Microplate Reader. Following the viability assessment, we explored a range of tracer concentrations from 0.1 to 300 nM, repeating the dilution and measurement process to pinpoint the optimal concentration of tracer that give excellent signal to noise ration. Our protocol emphasized maintaining minimal exposure of the FITC peptide to light during the procedure and employing opaque plates to prevent the photobleaching of the tracer, thereby ensuring the reliability of our fluorescence measurements.

PBD Protein Optimization

With the fluorescent tracer concentration optimized (typically no less than 10-fold signal above background), we proceeded to the PoloBox Domain (PBD) protein optimization stage. In this phase, we conducted a protein dilution curve in a 384-well plate. We added 5 μL of the optimum tracer concentration (10 nM) to 384 well plate in triplicate, maintaining a constant concentration of the tracer, and then add 5 μL increasing concentrations of PBD protein (ranging from 0.5 ng/well to 250 ng/well) in triplicate. These PBD protein dilutions were prepared using a 1X buffer (50 mM Tris HCl, 200 mM NaCl, 0.005% Tween, 20 mM DTT) and 5 μL of the 1X buffer to account for the 5 μL of ligand in the final inhibition assay procedure. Subsequently, the plate underwent centrifugation (Sorvall Legend XTR centrifuge) at 500 RPM for 1 minute, followed by incubation on a shaker at room temperature for 45 minutes (counted immediately after completion of centrifugation) and another round of centrifugation after 45 minutes before analysis using the SpectraMax i3 Multimode Microplate Reader. We measured binding by calculating millipolarization (mP) values. The optimal PBD protein concentration was determined as when 90% of the fluorescent tracer was bound (EC90). This approach ensured the precision and reliability of our fluorescence measurements.

Determination of percentage Inhibition of FITC Poloboxtide by Fluorescence Polarization

Unless specified, biological grade water were used solvent. All reagents were kept on ice bath prior to use. 2X buffer was prepared by mixing 0.1 M tris, 0.4 M NaCl, and 0.1% tween. 1X buffer was prepared fresh at the beginning of each assay from 2X buffer by mixing 400 uL of water, 500 uL of 2X buffer and 100 uL of 20 mM DTT (prepared from 1 M solution). Appropriate concentration of the tracer, FITC Poloboxtide from Genscript, was prepared using 1X buffer as the solvent. PLK1 PBD protein (250 ng/well) from Genscript were prepared from a stock solution of 0.94 mg/mL. The test compounds were stored as a 100 mM and 1 M stock solutions in DMSO and 1X buffer was used for subsequent dilution of the test compounds.

Briefly, 5 μL Plk1 PBD proteins (250 ng/well), 5 μL of the test compound and 5 uL of PLK1 Poloboxtide were incubated in a 384 well black opaque plate, in triplicate for each concentration of test compounds. For each test compound concentration, three wells containing 5 μL FITC-Poloboxtide (10 nM), 5 uL of 1X buffer and 5 μL Plk1 PBD (250 ng/well) were used as negative control (0% inhibition). Three wells containing 5 uL of FITC-Poloboxtide (10 nM) and 10 uL of 1X buffer were used as positive control. Subsequently, the plate was centrifuge at 500 RPM for 1 minute and incubated for 45 minutes. It was then centrifuged again prior to analyzing the fluorescence polarization measurement at λex/λem: 485/535 nm using the SpectraMax i3 Multimode Microplate Reader. Percentage inhibition was calculated for each sample as follows:

Inhibition (%) = ((Negative – Sample) / (Negative – Positive))* 100

The percentage inhibition values were plotted and used to determined IC50 using GraphPad Prism 10.1.1

Discussion:

Our initial assays utilizing FITC Poloboxtide encountered several challenges, leading to a series of unsuccessful trials. To address these issues, we sought insight from colleagues with experience in similar assays. We reached out to researchers at the University of South Carolina in Columbia, who provided invaluable assistance. A comparative analysis of our protocols against theirs revealed that our FITC Poloboxtide was ineffectively binding to the PLK1 PBD protein. Subsequently, we acquired a sample of FITC Poloboxtide from the University of South Carolina, Columbia team and integrated it into our assays.

This collaboration led to two significant findings: firstly, that a 10 nM concentration of functional FITC Poloboxtide is sufficient for the assay’s objectives; secondly, that 250 ng/well of PBD protein is optimal. We discovered that an overly high concentration of the tracer, relative to the PBD protein, would result in saturation of the detection system's limits due to the unbound tracer's signal. This saturation can distort the actual binding affinity measurement of a test compound. Conversely, if the tracer concentration is too low in comparison to the PBD protein, there is a risk of underestimating a compound's binding. Accurate detection of a compound's binding affinity is contingent on measuring the displacement of the tracer from the binding site. An abundance of unbound PBD protein can cause an underestimation of binding affinity, necessitating a greater quantity of the compound to observe binding, thereby leading to an erroneously elevated IC50 value. Our research underscores the importance of optimizing the ratio of tracer to protein to ensure precise affinity measurements in fluorescence polarization assays.

In this pioneering study, Thymoquinone was selected as a control due to the extensive documentation of its binding affinities to Polo-like kinase 1 (PLK1) polo-box domain (PBD) in the literature. Our preliminary findings suggest that Thymoquinone exhibits a binding affinity of 15.6 µM. This result marginally exceeds the reported range of 1.1 – 12 µM, as established by Emmitte et al. (2009), Reindl et al. (2008), Normandin et al. (2016), and Chen et al. (2016). Despite this slight deviation, the observed affinity is in a comparable proximity for an initial assay. However, it is essential to note that Thymoquinone demonstrated inconsistent solubility across various buffer solutions, indicating a degree of unreliability as a control substance in our experimental conditions.

Concurrently, our study includes an analysis of 46 compounds for their binding affinities to PLK1 PBD. Preliminary screening has identified Drug #2 as a molecule of interest, exhibiting a significant affinity for PLK1 PBD with an inhibitory concentration 50% (IC50) value of 3.35 µM. This finding warrants further investigation into the potential of Drug #2 as a candidate for modulating PLK1 activity. The ongoing work to characterize the full spectrum of our 46 compounds affinities for PLK1 PBD is expected to yield valuable insights into their therapeutic potential.

Reference

Emmitte KA, et al. Discovery of thiophene inhibitors of polo-like kinase. Bioorg Med Chem Lett. 2009;19:1018–1021.

Chen Y, Zhang J, Li D, Jiang J, Wang Y, Si S. Identification of a novel Polo-like kinase 1 inhibitor that specifically blocks the functions of Polo-Box domain. Oncotarget 2016; 8(1):1234-46.

Normandin K, Lavallee JF, Futter M, Beautrait A, Duchaine J, Guiral S, Marinier A, Archambault V. Identification of Polo-like kinase 1 interaction inhibitors using a novel cell-based assay. Sci Rep 2016; 5:37581; PMID:27874094; https://doi.org/10.1038/srep37581

Reindl W, Yuan J, Kramer A, Strebhardt K, Berg T. Inhibition of polo-like kinase 1 by blocking polo-box domain-dependent protein-protein interactions. Chem Biol 2008; 15:459-66; PMID:18482698; https://doi.org/10.1016/j.chembiol.2008.03.013